[image: image8.png][ J
@y wminm




Tel：0769—82960405                                Website：http://www.jiabaida.com
Address：东莞市塘厦镇莲湖宝源二路40号6栋2楼     Alibaba：http://jiabaida.1688.com
	JBD-HP07SA V1.2
	Specification：Protection circuit module
	

	
	Page:7       Total:8

	Date:1/21/2021



Product confirmation
	Customer Name
	
	Customer Model
	JBD-AP20S004-L20S-200A-B-U

	Our Material Number
	
	Customer Material Number
	

	Sample Submission Date
	2020-11-5
	Company Model
	JBD-AP20S004 

	Edition
	A01
	Number of pages
	    7

	Approved by
	Reviewed by
	Prepared by

	
	
	LiGang Wang

	Material Number
	JBD-AP20S004-L20S-200A-B-U

	Customer Confirmation Column

	Confirmation Comments:
                                          Signature:


Date:


Special Instruction:

1. Please organize the test in time and give the test feedback to our company, so as to facilitate our company to arrange the follow-up work of this project after the customer receives the sample. If no reply is received within 5 days, our company will assume that the test passed by the customer and the project will be completed normally.

2. If the customer passes the test, please mark the product name and product code in the customer comment column, and stamp the sign for confirmation. Otherwise, please point out the problem in the test unqualified column and put forward improvement suggestions.

3. Our company can receive orders only after receiving the original signed and sealed by the customer and attaching the detailed description of the product.

I. Introduction and Features

JBD-AP20S004 is designed by Dongguan jiabaida Electronic Technology Co., Ltd. It is an intelligent protection board scheme specially designed for 13-20 series battery packs of start-up battery and electric energy storage products.It is suitable for lithium batteries with different chemical properties, such as lithium ion, lithium polymer, lithium iron phosphate, etc.The protection board has strong load carrying capacity and the maximum continuous discharge current can reach 200A.   

Note: JBD-AP20S004 only supports 13 ~ 20 strings. JBD-AP20S003 supports 7 ~ 20s

● 13-20 cell series protection, and automatically recognize the number of battery strings
● The car gauge level simulates the front chip, the voltage acquisition precision is high;more secure and reliable.

● Various protection functions for charging and discharging

● Power switch for relay, high voltage, more reliable.

● Accurate SOC calculation with automatic SOC learning function

● Bluetooth communication

● Optional RS485 communication function can read all battery data in real time and upgrade online.

● Optional CAN communication function

● Reserve switch control protection panel output.There is a discharge switch to have a pre-charge function to prevent lighting
● When the standing time reaches the set value (page switching time for parameter setting), the machine will automatically shut down and sleep to reduce standby power consumption.    
● Support series connection, but the total number of series after series connection is less than or equal to 32 series

● Direct parallel connection of batteries is not supported (there is the problem of high current discharge from high voltage batteries to low voltage batteries due to direct parallel connection of batteries)

II. Principle diagram

[image: image8.png][image: image1.png]BATT+ PACK+

el

IR
BHlES

Ul

FoI Ak 2%

7

JEE SRS





III. Basic parameters

3.1 Scope of use

Battery pack structure:20S

Charging mode: CC-CV (constant current constant voltage)

Charging mode: Constant exile electric

Output terminal: C-

Input terminal: B-, BC0-BC20
3.2 Electrical Characteristics (The test needs to be carried out in a room with a temperature of 25 ± 2 C and a relative humidity of 65 +/- 20 %)

	Functions
	Test items
	specification
	Unit

	
	
	Min.
	Type
	Max.
	

	Operating Voltage
	voltage range
	50
	
	73
	V

	Operating current
	recharging current
	--
	--
	200
	A

	
	Discharging current
	--
	--
	200
	A

	Charging protection
	Charger voltage (CC -CV)
	73
	V

	
	Over-charge protection voltage
	3.600
	3.650
	3.700
	V

	
	Over-charge protection delay time
	1000
	2000
	3000
	M S

	
	Over-charge protection recovery voltage
	3.400
	3.450
	3.500
	V

	Discharge protection
	Over-discharge protection voltage
	2.400
	2.500
	2.600
	V

	
	Over-discharge protection delay time
	1000
	2000
	3000
	M S

	
	Over-discharge protection recovery voltage
	2.900
	3.000
	3.100
	V

	Equalization function
	Balanced turn-on voltage
	3.320
	3.350
	3.380
	V

	
	Balanced turn-on voltage difference 
	
	10
	
	M V

	
	Equilibrium mode
	Charge equalization

	
	Equilibrium current
	100
	180
	260
	M A

	Over current protection
	Charging over current protection value
	270
	300
	330
	A

	
	Charging over current delay
	8
	10
	12
	S

	
	charge over current protection recovery condition
	Delay 32S release

	
	Discharge over current 1 protection current value
	270
	300
	330
	A

	
	Discharge over current 1 protection delay
	8
	10
	12
	S

	
	Discharge over current 2 protection current value
	800
	1000
	1200
	A

	
	Discharge over current 2 protection delay
	600
	1200
	1800
	M S

	
	Discharge over current protection recovery condition
	Delay 32S release

	Temperature protection
	High temperature protection value of charging
	62
	65
	68
	   ℃

	
	Release value of charging high temperature protection
	52
	55
	58
	℃

	
	Low temperature protection value of charging
	-8
	-5
	-2
	℃

	
	Charging low temperature protection release value
	-3
	0
	3
	℃

	
	High temperature protection value of discharge
	72
	75
	78
	℃

	
	Release value of discharging high temperature protection
	62
	65
	68
	℃

	
	Low temperature protection value of discharging
	-25
	-20
	-15
	℃

	
	Discharging low temperature protection release value
	-15
	-10
	-5
	℃

	Short circuit protection
	Short circuit protection delay time
	
	5000
	
	U S

	
	Short circuit protection recovery
	Disconnect the load and release with delay of 60S 

	Internal resistance
	Discharge loop internal resistance
	/
	5
	10
	M R

	Self-consuming
	Operating mode(Relay closed)
	
	35
	50
	M A

	
	Sleep mode
	
	
	500
	U A

	
	Sleep condition and delay
	No current \ communication \ Delay of 65000S under protection state(can be Settings)

	Operating temperature
	Normal working range
	-20
	
	70
	℃

	storage temperature
	Humidity is lower than 90%,
	-40
	
	85
	℃

	Protection board size
	length*Width*Height
	MAX: 165*114.5*76（±2）


	mm


3.3 Software parameter description
[image: image2.png]HHITHH

amanseans
s 3]
nal o PV gy [3] s
L R
wsnazz o0

om0 s AmEs

[emrre———

onar: (o)





3.4 Protection function description:

Overcharge protection: When the battery is under the charging state, the voltage keeps going up. When the protection board detects that the voltage of any cell is higher than the overcharge protection value, the protection board will start timing immediately. When the time reaches the overcharge protection delay, the protection board will turn off the charging MOS tube, at that time, it cannot be charged.

Overcharge protection recovery: After the overvoltage protection appears on the protection board, the battery voltage will going down under the static or discharge state of the battery. When the protection board detects that each voltage is lower than the recovery voltage of the overcharge protection, the protection board will output a signal and turn on the charging MOS tube to charge.

Over-discharge protection: When the battery is under the discharge state, the voltage keeps going down. When the protection board detects that the voltage of any cell is lower than the overcharge protection value, the protection board will start timing immediately. When the time reaches the over discharge protection delay, the output signal of the protection board will turn off the discharge MOS tube, the load lock circuit will work, but, it cannot discharge at this time.

Over discharge protection recovery: After the over discharge protection appears on the protection board, the battery voltage will going up under the static or discharge state of the battery. When the protection board detects that each voltage is higher than the recovery voltage of the over discharge protection. At this time, disconnect the load or charge, the protection board will output a signal and turn on the charging MOS tube to charge.

Overcurrent protection: When the battery is under the static or discharge state, the current suddenly increases. When the protection board detects that the current reaches the overcurrent protection value, the protection board will start timing at that time. When the current duration in the circuit reaches the overcurrent protection delay time, the output signal of the protection board will turn off the discharge MOS tube, and the load lock circuit will work. At this time, the discharge cannot be conducted.

Overcurrent protection recovery: After the discharge overcurrent protection appears on the protection board, the discharge MOS tube is turned off, and the current in the loop becomes 0. At this time, the load is disconnected or charged, the output signal of the protection board will turn on the discharge MOS tube to discharge.

Please note: If the parameters of the protection board are adjusted, please read the internal parameters of the protection board first and then change them. After the change is completed, click write. If you do not inform us of the nominal capacity of the battery pack, please change it after communication.
IV. Detailed Notes to the number:

JBD – AP20S004 – L20S – 200A - B - U
⑴            ⑵             ⑶     ⑷     (5)   (6)
⑴ Jia Bai Da Electronic Technology Co., Ltd: JBD, for short
⑵ Our protection board model: AP20S004, the maximum support 20 strings
⑶ L20S, namely, the sample of this time is a 20-string protective board for lithium iron phosphate battery.
⑷ Maximum charge and discharge current, if this current is exceeded, it may cause permanent damage to the protection board.    

Equalization function

With UART communication function, Used to connect to the Bluetooth module
After your company receives the specification and sample, the verification test is completed, if you company need subsequent batches, please sign this specification and send it back to our company. Our company will provide your company with batches according to the parameters in this specification.

  This specification defines the functions, electrical parameters, mechanical parameters and package and transportation, installation and use of the lithium battery pack management system designed and manufactured by Dongguan City Jia Bai Da Electronic Technology Co., Ltd (hereinafter referred to as “our company” later) according to the design requirements provided by your company. Upon confirmation by your company, this specification is only for our company and your company's internal use, and shall not be given to a third party without our company's permission, and our company has the right of final interpretation with regard to this specification.

V. PCB routing and dimension structure drawing

[image: image3.png]



Top layer routing drawing
[image: image4.png]S W W gy S





Bottom layer routing drawing
[image: image5.png]



Border dimension drawing

VI.Wiring diagram
[image: image6.png]



[image: image7.png]76mm





Port Description:

	port
	Description

	C-
	Charge and discharge negative poles

	B-
	The first negative pole of the battery is the total negative pole of the battery

	J1
	1
	Connect the first string of negative pole of the battery pack(BC0)

	
	2
	Connect the first string of positive pole of the battery pack(BC1)

	
	3
	Connect the second string of positive pole of the battery pack(BC2)

	
	4
	Connect the 3rd string of positive pole of the battery pack(BC3)

	
	5
	Connect the 4th string of positive pole of the battery pack(BC4)

	
	...
	.......

	
	14
	Connect the 13rd string of positive pole of the battery pack(BC13)

	J2 
	15
	Connect the 14th string of positive pole of the battery pack(BC14)

	
	16
	Connect the 15th string of positive pole of the battery pack(BC15)

	
	...
	......

	
	21
	Connect the twenty string of positive pole of the battery pack(Voltage acquisition)(BC20)Voltage acquisition

	
	22
	Connect the twenty string of positive pole of the battery pack(BMS power supply)

	J5
	1
	RS485-B /CAN-L,Optional one of RS485 or CAN, not enabled

	
	2
	RS485-A /CAN-H,Optional one of RS485 or CAN, not enabled

	J3
	1
	RXD

	
	2
	TXD

	J4

Built in Bluetooth interface
	1
	VDD(GND level 11V Bluetooth power supply, other time do not connect.）


	
	2
	TXD


	
	3
	RXD


	
	4
	GND


	NTC


	The temperature probe


Connection mode of automatic identification of string number

	20S
	No short circuit

	19S
	BC17~BC18 are short circuited and connected with 17 series of positive electrodes

	18S
	BC16~BC18 are short circuited and connected with 16 series of positive electrodes

	17S
	BC15~BC18 are short circuited and connected with 15 series of positive electrodes

	16S
	BC14~BC18 are short circuited and connected with 14 series of positive electrodes

	15S
	BC13~BC18 are short circuited and connected with 13 series of positive electrodes

	14S
	BC12~BC18 are short circuited and connected with 12 series of positive electrodes

	13S
	BC11~BC18 are short circuited and connected with 11 series of positive electrodes

	12S
	BC10~BC18 are short circuited and connected with 10 series of positive electrodes

	11S
	BC9~BC18 are short circuited and connected with 9 series of positive electrodes

	10S
	BC8~BC18 are short circuited and connected with 8 series of positive electrodes

	9S
	BC7~BC18 are short circuited and connected with 7 series of positive electrodes

	8S
	BC6~BC18 are short circuited and connected with 6 series of positive electrodes

	7S
	BC5~BC18 are short circuited and connected with 5 series of positive electrodes


VII. Order of connection

When assembling the wiring, weld the cable and the cell correctly, connect the B- of the PCM with the total negative pole of the cell, and then insert the cable into the needle base on the PCM. (Note: different connection modes for different strings, and different connection modes for the same port)
VIII. Precautions for use

1.When in use, design parameters and work conditions must be followed, and the parameters in this specification must not be violated, otherwise it is easy to damage the protection plate, and then damage the battery pack.

2.When in use, there should be corresponding electro static-free measures for testing, installation and contacting with the protection board.

3.The charging port can withstand the specified DC voltage. If the charger is higher than this voltage, it cannot guarantee that the protection board will not be damaged. Please use the charger according to this specification. It is better to choose the charger with the function of closing the trickle current at the end of charging current, so as to achieve double security. Chargers without trickle current closed are designed for lead-acid batteries and do not work with lithium.

4.When in use, Pay attention to the electric lead, electric soldering iron and solder splash. Do not enable them to touch the components and parts on the circuit board; otherwise the protection board may be damaged.

5.The maximum discharge current is the maximum current that lasts for a few seconds. During the test, it cannot last too long to avoid overheating damage of power MOS.

6. When assembling the protection board and the battery pack, do not place the heat dissipating aluminum plate close to the surface of the cell. Otherwise, the heat will be transferred to the cell, affecting the safety of the battery pack.

7. If abnormal conditions occur during use, please stop using it immediately, return it to the original factory or ask professional maintenance personnel for maintenance.

8.If it is a split protection board, P- is prohibited to be used as charging port.Because when p- is used as charging port, the battery pack has no overcharge protection.C- is forbidden to be used as discharge port.
9. The protection board has already done a lot of reliability tests, the reliability is far higher than the general protection board on the market, and the process of the cell must be ensured at the same time, so as to reduce the occurrence of combustion as much as possible.

10. This protection board is not equipped with 0V battery charging function. Once the battery shows 0V, the battery performance will be seriously degraded and may even be damaged.

12. In order not to damage the battery, the user needs to charge regularly to replenish the electric quantity when not in use for a long time (the battery pack capacity is more than 2AH, storage is more than 3 months). And when in use, it must be charged within 12 hours after being discharged, so as to prevent the battery from discharging to 0V due to its power consumption. Customers are required to have a clear identification for periodic maintenance of the battery on the battery case.
13. This protection board does not have anti-charge protection function. If the pole of the charger is reversed, the protection board may be damaged.

Safety Precautions:

Our company is committed to improvement of quality and reliability, but in general, there will be a certain probability of failure in electrical components and parts, with different environment and conditions, the durability will be different. When in use, the lengthy design is adopted to avoid overload abnormal fever, smoking, and even casualty, fire accidents, social damage, etc.
fuse





Charge and discharge relay





Protection board control part








东莞市嘉佰达电子科技有限公司                                           地址：东莞市塘厦镇莲湖宝源二路40号6栋2楼

                                                                       电话：0769-82960405             
7
东莞市嘉佰达电子科技有限公司                                           地址：东莞市塘厦镇莲湖宝源二路40号6栋2楼

                                                                       电话：0769-82960405    

