## Sheet1
Firmware Version | 2.035.01
| CURL Queries | [6 empty] | Notes | To be used | Correspondent Row | Exported from cloud
| #1 | #2 | #3 | #4 | #5 | #6 | [5 empty] | #3 | #4
0 | 2364, | 2405, | 2366, | 2413, | 2425, | 2403, | Network Voltage Phase 1': (0, 'V', div10), |  | Total Energy Resets': (20, ''), | 12 | PV1 current (A) | 0 | 2.4
1 | 2345, | 2348, | 2335, | 2376, | 2312, | 2348, | Network Voltage Phase 2': (1, 'V', div10), |  | Total Feed-in Energy Resets': (68, ''), | 10 | PV1 voltage (V) | 530.6 | 442.6
2 | 2382, | 2343, | 2369, | 2375, | 2346, | 2367, | Network Voltage Phase 3': (2, 'V', div10), |  | Total Consumption Resets': (70, ''), | 14 | PV1 input power(W) | 0 | 1090
3 | 10, | 11, | 12, | 10, | 10, | 10, | Output Current Phase 1': (3, 'A', twoway_div10), |  |  | 13 | PV2 current (A) | 0.4 | 0.3
4 | 10, | 11, | 12, | 10, | 10, | 11, | Output Current Phase 2': (4, 'A', twoway_div10), |  | Exported Power': (65, 'W', to_signed), | 11 | PV2 voltage (V) | 528.6 | 501.2
5 | 10, | 11, | 12, | 10, | 10, | 10, | Output Current Phase 3': (5, 'A', twoway_div10), |  |  | 15 | PV2 input power(W) | 235 | 182
6 | 67, | 142, | 163, | 67, | 83, | 102, | Power Now Phase 1': (6, 'W', to_signed), |  | Total PV Energy Resets': (90, ''), | 9 | output power(W) | 329 | 210
7 | 63, | 138, | 159, | 67, | 77, | 98, | Power Now Phase 2': (7, 'W', to_signed), |  | Today\'s PV Energy': (112, 'kWh', div10), |  | feed-in power(W) | 8 | 0
8 | 68, | 135, | 163, | 65, | 76, | 100, | Power Now Phase 3': (8, 'W', to_signed), |  | Total PV Energy': (89, 'kWh', pv_energy), | 70 | daily yield(kWh) | 10 | 6.7
9 | 198, | 415, | 485, | 199, | 236, | 300, | AC Output Power': (181, 'W', to_signed), |  |  | 68 | total yield(kWh) | 403.2 | 446.3
10 | 4275, | 5331, | 5330, | 4430, | 4388, | 5306, | PV1 Voltage': (9, 'V', div10), |  | Total Battery Discharge Energy Resets': (31, ''), | 86 | feed-in energy(kWh) | 5.5 | 7.4
11 | 4581, | 5284, | 5326, | 4300, | 2589, | 5276, | PV2 Voltage': (10, 'V', div10), |  | Total Battery Charge Energy Resets': (88, ''), | 88 | consume energy(kWh) | 15.93 | 17.53
12 | 69, | 0, | 0, | 24, | 92, | 0, | PV1 Current': (11, 'A', div10), |  |  | 3 | AC current R(A) | 1.1 | 1
13 | 72, | 5, | 6, | 3, | 90, | 3, | PV2 Current': (12, 'A', div10), |  | Total Battery Charge Energy': (87, 'kWh', charge_energy), | 0 | AC voltage R(V) | 241.9 | 240.2
14 | 2988, | 0, | 0, | 1098, | 4047, | 0, | PV1 Power': (13, 'W'), |  | Today\'s Battery Charge Energy': (114, 'kWh', div10), | 6 | AC power R(W) | 114 | 70
15 | 3320, | 307, | 343, | 171, | 2353, | 183, | PV2 Power': (14, 'W'), |  | Today\'s Battery Discharge Energy': (113, 'kWh', div10), | 4 | AC current S(A) | 1.1 | 1
16 | 5001, | 5001, | 5003, | 5001, | 5001, | 5001, | Grid Frequency Phase 1': (15, 'Hz', div100), |  | Total Battery Discharge Energy': (30, 'kWh', discharge_energy), | 1 | AC voltage S(V) | 234.2 | 237.8
17 | 5001, | 5001, | 5000, | 5001, | 5001, | 5001, | Grid Frequency Phase 2': (16, 'Hz', div100), |  |  | 7 | AC power S(W) | 109 | 70
18 | 4999, | 5001, | 5001, | 5000, | 5001, | 5000, | Grid Frequency Phase 3': (17, 'Hz', div100), |  | EPS Frequency': (63, 'Hz', div100), | 5 | AC current T(A) | 1.1 | 1
19 | [7 empty] | STABLE | EPS Total Energy': (110, 'kWh', eps_total_energy), | 2 | AC voltage T(V) | 234.8 | 238.4 | bar: CURL Queries #1 to CURL Queries #6
20 | [8 empty] | EPS Total Energy Resets': (111, 'Hz'), | 8 | AC power T(W) | 106 | 70 | bar: CURL Queries #1 to CURL Queries #6
21 | [10 empty] | EPS Voltage (V) | bar: CURL Queries #1 to CURL Queries #6
22 | [10 empty] | EPS Current (A) | bar: CURL Queries #1 to CURL Queries #6
23 | [10 empty] | EPS Power (W) | 0 | 0 | bar: CURL Queries #1 to CURL Queries #6
24 | [10 empty] | EPS Frequency (Hz) | 0 | 0 | bar: CURL Queries #1 to CURL Queries #6
25 | [10 empty] | BMS Lost | 0 | 0 | bar: CURL Queries #1 to CURL Queries #6
26 | [9 empty] | 39 | battery voltage 1(V) | 482 | 478.5 | bar: CURL Queries #1 to CURL Queries #6
27 | [9 empty] | 40 | battery current 1(A) | 0 | 2.5 | bar: CURL Queries #1 to CURL Queries #6
28 | [9 empty] | 41 | battery power 1(W) | 0 | 1196 | bar: CURL Queries #1 to CURL Queries #6
29 | [9 empty] | 105 | Internal temperature 1 (℃) | 24 | 21 | bar: CURL Queries #1 to CURL Queries #6
30 | [9 empty] | 103 | Battery capacity 1(%) | 100 | 61 | bar: CURL Queries #1 to CURL Queries #6
31 | [9 empty] | 16 | AC frequency R(Hz) | 50 | 50.01 | bar: CURL Queries #1 to CURL Queries #6
32 | [9 empty] | 17 | AC frequency S(Hz) | 50.01 | 50.01 | bar: CURL Queries #1 to CURL Queries #6
33 | [9 empty] | 18 | AC frequency T(Hz) | 50 | 50 | bar: CURL Queries #1 to CURL Queries #6
34 | 65, | 65532, | 65341, | 1, | 12, | 65534, |  |  |  |  | Inverter Statue | NormalMode | NormalMode
35 | 0, | 65535, | 65535, | 0, | 0, | 65535,
36 | bar: CURL Queries #1 to CURL Queries #6
37 | bar: CURL Queries #1 to CURL Queries #6
38 | bar: CURL Queries #1 to CURL Queries #6
39 | 49640, | 48160, | 48210, | 47850, | 49690, | 48110, | Battery Voltage': (24, 'V', div100),
40 | 1180, | 0, | 0, | 250, | 1230, | 0, | Battery Current': (25, 'A', twoway_div100),
41 | 5910, | 0, | 0, | 1196, | 6162, | 0, | Battery Power': (26, 'W', to_signed),
42 | 4933, | 4802, | 4808, | 4771, | 4939, | 4798, | Battery Voltage div10?
43 | 119, | 0, | 0, | 25, | 124, | 0, | Battery Current div10?
44 | 5870, | 0, | 0, | 1192, | 6124, | 0, | Battery Power?
45 | [6 empty] | BMS Status? | bar: CURL Queries #1 to CURL Queries #6
46 | 42, | 41, | 41, | 37, | 44, | 40,
47 | 133, | 419, | 680, | 198, | 224, | 302,
48 | 256, | 256, | 256, | 256, | 256, | 256, |  | STABLE
49 | 14381, | 1039, | 11298, | 11809, | 6149, | 1850,
50 | 5648, | 6416, | 7438, | 521, | 524, | 529,
51 | 5636, | 5636, | 5636, | 5637, | 5637, | 5637, |  | Incremental?
52 | 100, | 100, | 100, | 100, | 100, | 100, |  | STABLE
53 | bar: CURL Queries #1 to CURL Queries #6
54 | 34, | 31, | 31, | 26, | 36, | 30,
55 | bar: CURL Queries #1 to CURL Queries #6
56 | bar: CURL Queries #1 to CURL Queries #6
57 | bar: CURL Queries #1 to CURL Queries #6
58 | bar: CURL Queries #1 to CURL Queries #6
59 | bar: CURL Queries #1 to CURL Queries #6
60 | bar: CURL Queries #1 to CURL Queries #6
61 | bar: CURL Queries #1 to CURL Queries #6
62 | bar: CURL Queries #1 to CURL Queries #6
63 | bar: CURL Queries #1 to CURL Queries #6
64 | bar: CURL Queries #1 to CURL Queries #6
65 | bar: CURL Queries #1 to CURL Queries #6
66 | bar: CURL Queries #1 to CURL Queries #6
67 | bar: CURL Queries #1 to CURL Queries #6
68 | 2754, | 3277, | 4031, | 4463, | 4477, | 4503, | Total Energy': (19, 'kWh', total_energy),
69 | bar: CURL Queries #1 to CURL Queries #6
70 | 50, | 138, | 99, | 67, | 81, | 107, | Today\'s Energy': (21, 'kWh', div10),
71 | 448, | 448, | 448, | 448, | 448, | 448, |  | STABLE
72 | bar: CURL Queries #1 to CURL Queries #6
73 | bar: CURL Queries #1 to CURL Queries #6
74 | 800, | 1114, | 1507, | 1702, | 1702, | 1702,
75 | bar: CURL Queries #1 to CURL Queries #6
76 | 1023, | 1416, | 1885, | 2041, | 2122, | 2135,
77 | bar: CURL Queries #1 to CURL Queries #6
78 | 13, | 69, | 29, | 46, | 46, | 46, | Feed In?
79 | 216, | 148, | 108, | 4, | 85, | 98,
80 | 2547, | 3058, | 3776, | 4076, | 4169, | 4199, |  | Incremental
81 | bar: CURL Queries #1 to CURL Queries #6
82 | 244, | 199, | 159, | 9, | 102, | 132,
83 | bar: CURL Queries #1 to CURL Queries #6
84 | bar: CURL Queries #1 to CURL Queries #6
85 | bar: CURL Queries #1 to CURL Queries #6
86 | 60, | 310, | 550, | 740, | 740, | 760, | Total Feed-in Energy': (67, 'kWh', feedin_energy),
87 | bar: CURL Queries #1 to CURL Queries #6
88 | 1113, | 1303, | 1593, | 1753, | 1763, | 1773, | Total Consumption': (69, 'kWh', consumption),
89 | bar: CURL Queries #1 to CURL Queries #6
90 | 30, | 40, | 30, | 20, | 20, | 40,
91 | bar: CURL Queries #1 to CURL Queries #6
92 | 974, | 30, | 40, | 20, | 30, | 40,
93 | bar: CURL Queries #1 to CURL Queries #6
94 | bar: CURL Queries #1 to CURL Queries #6
95 | bar: CURL Queries #1 to CURL Queries #6
96 | bar: CURL Queries #1 to CURL Queries #6
97 | bar: CURL Queries #1 to CURL Queries #6
98 | bar: CURL Queries #1 to CURL Queries #6
99 | bar: CURL Queries #1 to CURL Queries #6
100 | bar: CURL Queries #1 to CURL Queries #6
101 | bar: CURL Queries #1 to CURL Queries #6
102 | bar: CURL Queries #1 to CURL Queries #6
103 | 95, | 100, | 100, | 61, | 94, | 99, | Battery Remaining Capacity': (28, '%'),
104 | bar: CURL Queries #1 to CURL Queries #6
105 | 26, | 25, | 24, | 21, | 25, | 25, | Battery Temperature': (27, 'C'),
106 | 218, | 227, | 227, | 140, | 213, | 226, | Battery Remaining Energy': (32, 'kWh', div10),
107 | 256, | 256, | 256, | 256, | 256, | 256, |  | STABLE
108 | 5256, | 5256, | 5256, | 5256, | 5256, | 5256, |  | STABLE
109 | 3600, | 3600, | 3600, | 3600, | 3600, | 3600, |  | STABLE
110 | 150, | 0, | 0, | 262, | 148, | 0, | Battery Charging?
111 | 350, | 350, | 350, | 350, | 350, | 350, |  | STABLE
112 | 243, | 235, | 223, | 195, | 218, | 221,
113 | 208, | 197, | 185, | 159, | 186, | 186,
114 | 34, | 33, | 33, | 33, | 34, | 33,
115 | 34, | 33, | 33, | 33, | 34, | 33,
116 | 5, | 6, | 8, | 9, | 9, | 9, |  | Incremental?
117 | 2130, | 2130, | 2130, | 2130, | 2130, | 2130, |  | STABLE
118 | 521, | 521, | 521, | 521, | 521, | 521, |  | STABLE
119 | 9252, | 9252, | 9252, | 9252, | 9252, | 9252, |  | STABLE
120 | 9252, | 9252, | 9252, | 9252, | 9252, | 9252, |  | STABLE
121 | 9252, | 9252, | 9252, | 9252, | 9252, | 9252, |  | STABLE
122 | 9252, | 9252, | 9252, | 9252, | 9252, | 9252, |  | STABLE
123 | bar: CURL Queries #1 to CURL Queries #6
124 | bar: CURL Queries #1 to CURL Queries #6
125 | 3439, | 3339, | 3347, | 3319, | 3441, | 3336,
126 | 3413, | 3333, | 3336, | 3307, | 3422, | 3328,
127 | 45348, | 50718, | 6175, | 41905, | 49917, | 51289,
128 | 2, | 3, | 5, | 5, | 5, | 5,
129 | 21302, | 21302, | 21302, | 21302, | 21302, | 21302, |  | STABLE
130 | 14389, | 14389, | 14389, | 14389, | 14389, | 14389, |  | STABLE
131 | 18497, | 18497, | 18497, | 18497, | 18497, | 18497, |  | STABLE
132 | 12596, | 12596, | 12596, | 12596, | 12596, | 12596, |  | STABLE
133 | 16696, | 16696, | 16696, | 16696, | 16696, | 16696, |  | STABLE
134 | 12355, | 12355, | 12355, | 12355, | 12355, | 12355, |  | STABLE
135 | 12600, | 12600, | 12600, | 12600, | 12600, | 12600, |  | STABLE
136 | 21302, | 21302, | 21302, | 21302, | 21302, | 21302, |  | STABLE
137 | 14389, | 14389, | 14389, | 14389, | 14389, | 14389, |  | STABLE
138 | 18497, | 18497, | 18497, | 18497, | 18497, | 18497, |  | STABLE
139 | 12596, | 12596, | 12596, | 12596, | 12596, | 12596, |  | STABLE
140 | 16696, | 16696, | 16696, | 16696, | 16696, | 16696, |  | STABLE
141 | 12355, | 12355, | 12355, | 12355, | 12355, | 12355, |  | STABLE
142 | 12600, | 12600, | 12600, | 12600, | 12600, | 12600, |  | STABLE
143 | 21302, | 21302, | 21302, | 21302, | 21302, | 21302, |  | STABLE
144 | 14389, | 14389, | 14389, | 14389, | 14389, | 14389, |  | STABLE
145 | 18498, | 18498, | 18498, | 18498, | 18498, | 18498, |  | STABLE
146 | 13108, | 13108, | 13108, | 13108, | 13108, | 13108, |  | STABLE
147 | 16688, | 16688, | 16688, | 16688, | 16688, | 16688, |  | STABLE
148 | 12611, | 12611, | 12611, | 12611, | 12611, | 12611, |  | STABLE
149 | 12592, | 12592, | 12592, | 12592, | 12592, | 12592, |  | STABLE
150 | 21302, | 21302, | 21302, | 21302, | 21302, | 21302, |  | STABLE
151 | 14389, | 14389, | 14389, | 14389, | 14389, | 14389, |  | STABLE
152 | 18498, | 18498, | 18498, | 18498, | 18498, | 18498, |  | STABLE
153 | 13108, | 13108, | 13108, | 13108, | 13108, | 13108, |  | STABLE
154 | 16688, | 16688, | 16688, | 16688, | 16688, | 16688, |  | STABLE
155 | 12611, | 12611, | 12611, | 12611, | 12611, | 12611, |  | STABLE
156 | 13104, | 13104, | 13104, | 13104, | 13104, | 13104, |  | STABLE
157 | 21302, | 21302, | 21302, | 21302, | 21302, | 21302, |  | STABLE
158 | 14389, | 14389, | 14389, | 14389, | 14389, | 14389, |  | STABLE
159 | 18498, | 18498, | 18498, | 18498, | 18498, | 18498, |  | STABLE
160 | 12344, | 12344, | 12344, | 12344, | 12344, | 12344, |  | STABLE
161 | 16693, | 16693, | 16693, | 16693, | 16693, | 16693, |  | STABLE
162 | 12611, | 12611, | 12611, | 12611, | 12611, | 12611, |  | STABLE
163 | 12343, | 12343, | 12343, | 12343, | 12343, | 12343, |  | STABLE
164 | 4611, | 1538, | 515, | 513, | 2821, | 1538,
165 | 3079, | 4611, | 1031, | 263, | 3074, | 4611,
166 | 770, | 770, | 770, | 770, | 258, | 258,
167 | 1031, | 1031, | 1031, | 1031, | 1031, | 1031, |  | STABLE
168 | bar: CURL Queries #1 to CURL Queries #6
169 | 49640, | 48160, | 48210, | 47850, | 49690, | 48110,
170 | bar: CURL Queries #1 to CURL Queries #6
171 | bar: CURL Queries #1 to CURL Queries #6
172 | bar: CURL Queries #1 to CURL Queries #6
173 | bar: CURL Queries #1 to CURL Queries #6
174 | bar: CURL Queries #1 to CURL Queries #6
175 | bar: CURL Queries #1 to CURL Queries #6
176 | bar: CURL Queries #1 to CURL Queries #6
177 | bar: CURL Queries #1 to CURL Queries #6
178 | bar: CURL Queries #1 to CURL Queries #6
179 | bar: CURL Queries #1 to CURL Queries #6
180 | bar: CURL Queries #1 to CURL Queries #6
181 | bar: CURL Queries #1 to CURL Queries #6
182 | bar: CURL Queries #1 to CURL Queries #6
183 | bar: CURL Queries #1 to CURL Queries #6
184 | bar: CURL Queries #1 to CURL Queries #6
185 | bar: CURL Queries #1 to CURL Queries #6
186 | bar: CURL Queries #1 to CURL Queries #6
187 | bar: CURL Queries #1 to CURL Queries #6
188 | bar: CURL Queries #1 to CURL Queries #6
189 | bar: CURL Queries #1 to CURL Queries #6
190 | bar: CURL Queries #1 to CURL Queries #6
191 | bar: CURL Queries #1 to CURL Queries #6
192 | bar: CURL Queries #1 to CURL Queries #6
193 | bar: CURL Queries #1 to CURL Queries #6
194 | bar: CURL Queries #1 to CURL Queries #6
195 | bar: CURL Queries #1 to CURL Queries #6
196 | bar: CURL Queries #1 to CURL Queries #6
197 | bar: CURL Queries #1 to CURL Queries #6
198 | bar: CURL Queries #1 to CURL Queries #6
| 0 | 0 | 0 | 0 | 0 | 0