SDM630MCT Series DIN Rail Mounted Metering

Single/Three Phase 1/5A CT Operated MID

SDM630MCT - MOD - MID - 1/5A Input Modbus RS485 & Pulsed Outputs

SDM630MCT - MBUS - MID – 1/5A Input Mbus & Pulsed Outputs

SDM630MCT - MOD - MV – 0.333mV Input 




Modbus RS485 & Pulsed Outputs (Not MID certified)

Features

        MID Certified (Excluding SDM630MCT - MOD - MV)

        UL Listed

        Class 0.5 accuracy

        Single phase or three phase network compatible

        Four module DIN rail mounted

        Highly visible backlit display

        Simple menu navigation

        Built in Modbus and Pulsed outputs or optional Mbus interface

Displayed Parameters

        Phase to Neutral Voltage (V)

        Phase Current (A)

        Voltage Total Harmonic Distortion (U%THD)

        Current Total Harmonic Distortion (I%THD)

        Frequency (Hz)

        Power Factor (PF)

        Current Max Demand (MD A)

        Power Max Demand (MD kW)

        Active Power (kW)

        Reactive Power (kVAr)

        Apparent Power (kVA)

        Import Active Energy (kWh)

        Export Active Energy (kWh)

        Total Active Energy (kWh)

        Import Reactive Energy (kVArh)

        Export Reactive Energy (kVArh)

        Total Reactive Energy (kVArh)

Product information

The SDM630MCT is produced to the highest quality and utilizes the latest microprocessor and technology. It has a blue backlit display and 16 different measuring parameters. This includes a negative power reading, which can also indicate a reversal of CT installation or connection. With builtin pulsed outputs and RS485 Modbus RTU it is fully compatible for integration with BMS and remote monitoring systems.

Certifications & Standards

        MID: EN50470-1 & EN50470-3 Class B

        EMC: EN61326-1 & EN61326-2-3

        LVD: EN61010-1 & EN61010-2-3

        UL Listed

        IEC/EN62052-11:2003 Class 0.5s

Downloads

SDM630MCT_series_Datasheet_May22.pdf

SDM630MCT_Series_Manual.pdf

SGS0142_Jiaxing_Eastron_SDM630M_CT_-_Issue_3_scanned.pdf

SDM630MCT_MODBUS_Protocol_V1.7.pdf

For further information on all our Eastron Europe products, or to find out how to buy through our distributor network, please contact us on 0203 7583 494 or email sales@eastroneurope.com

