1. docker-must-homeassistant
2. /src
3. /inverter
/

Ph1800.json

[

  {

    "Address": 20000,

    "Name": "MachineTypeH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20001,

    "Name": "MachineTypeL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20002,

    "Name": "SerialNumberH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20003,

    "Name": "SerialNumberL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20004,

    "Name": "HardwareNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20005,

    "Name": "SoftwareNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20006,

    "Name": "ProtocalEditionNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20009,

    "Name": "BatteryVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20010,

    "Name": "InverterVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20011,

    "Name": "GridVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20012,

    "Name": "BusVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20013,

    "Name": "ControlCurrentC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20014,

    "Name": "InverterCurrentC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20015,

    "Name": "GridCurrentC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20016,

    "Name": "LoadCurrentC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20101,

    "Name": "InverterOffgridWorkEnable",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20102,

    "Name": "InverterOutputVoltageSet",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks":  "Set the output voltage. (220VAC-240VAC).",

    "Publish": false

  },

  {

    "Address": 20103,

    "Name": "InverterOutputFrequencySet",

    "Coefficient": 0.01,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Set the output frequency. (50Hz or 60Hz).",

    "Publish": false

  },

  {

    "Address": 20104,

    "Name": "InverterSearchModeEnable",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20108,

    "Name": "InverterDischargerToGridEnable",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20109,

    "Name": "EnergyUseMode",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [

      "",

      "SBU",

      "SUB",

      "UTI",

      "SOL"

    ],

    "Remarks": "Output source priority selection\r\n\r\nSBU\r\nSolar energy provides power to the loads as first priority, If solar energy is not sufficient to power all connected loads, battery energy will supply power to the loads at the same time. Utility provides power to the loads only when battery voltage drops to either low-level warning voltage or the setting point in program 20118 (20) or solar and battery is not sufficient. The battery energy will supply power to the load in the condition of the utility is unavailable or the battery voltage is higher than the setting point in program 20119 (21) (when BLU is selected) or program 20118 (20) (when LBU is selected). If the solar is available, but the voltage is lower than the setting point in program 20118 (20), the utility will charge the battery until the battery voltage reaches the setting point in program 20118 (20) to protect the battery from damage.\r\n\r\nSUB\r\nSolar energy provides power to the loads as first priority, If solar energy is not sufficient to power all connected loads, Utility energy will supply power to the loads at the same time. The battery energy will supply power to the load only in the condition of the utility is unavailable. If the solar is unavailable, the utility will charge the battery until the battery voltage reaches the setting point in program 20119 (21). If the solar is available, but the voltage is lower than the setting point in program 20118 (20), the utility will charge the battery until the battery voltage reaches the setting point in program 20118 (20) to protect the battery from damage.\r\n\r\nUTI\r\nUtility will provide power to the loads as first priority. Solar and battery energy will provide power to the loads only when utility power is not available.\r\n\r\nSOL\r\nSolar energy provides power to the loads as first priority. If battery voltage has been higher than the setting point in program 20119 (21) for 5 minutes, and the solar energy has been available for 5 minutes too, the inverter will turn to battery mode, solar and battery will provide power to the loads at the same time. When the battery voltage drops to the setting point in program 20118 (20), the inverter will turn to bypass mode, utility provides power to the load only, and the solar will charge the battery at the same time.\r\n",

    "Publish": false

  },

  {

    "Address": 20111,

    "Name": "GridProtectStandard",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [

      "VDE4105",

      "UPS",

      "APL",

      "GEN"

    ],

    "Remarks": "AC input voltage range\r\n\r\nVDE4105\r\nIf selected, acceptable AC input voltage range will conform to VDE4105(184VAC-253VAC)\r\n\r\nUPS\r\nIf selected, acceptable AC input voltage range will be within 170-280VAC.\r\n\r\nAPL (default)\r\nIf selected, acceptable AC input voltage range will be within 90-280VAC.\r\n\r\nGEN\r\nWhen the user uses the device to connect the generator, select the generator mode.",

    "Publish": false

  },

  {

    "Address": 20112,

    "Name": "SolarUseAim",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [

      "LBU",

      "BLU"

    ],

    "Remarks": "Solar supply priority.\r\n\r\nLBU\r\nSolar energy provides power to\r\nthe loads as first priority\r\n\r\nBLU\r\nSolar energy provides power to\r\ncharge battery as first priority\r\n",

    "Publish": false

  },

  {

    "Address": 20113,

    "Name": "InverterMaxDischargerCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20118,

    "Name": "BatteryStopDischargingVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Battery stop discharging voltage when grid is available\r\n\r\nThis setting affects the behaviour of 20109 (01) when SBU, SUB or SOL are selected.\r\n\r\n12V model:\r\nDefault setting is 11.5V. Setting range is from 11V to 14.5V.\r\n\r\n12V model:\r\nDefault setting is 23V. Setting range is from 22.0V to 29.0V.\r\n\r\nIncrement of each click is 0.1V.",

    "Publish": false

  },

  {

    "Address": 20119,

    "Name": "BatteryStopChargingVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Battery stop charging voltage when grid is available\r\n\r\nThis setting affects the behaviour of 20109 (01) when SBU, SUB or SOL are selected.\r\n\r\n12V model:\r\nDefault setting is 13.5V. Setting range is from 11V to 14.5V.\r\n\r\n12V model:\r\nDefault setting is 27V. Setting range is from 22.0V to 29.0V.\r\n\r\nIncrement of each click is 0.1V.",

    "Publish": false

  },

  {

    "Address": 20125,

    "Name": "GridMaxChargerCurrentSet",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Maximum utility charging current\r\n\r\n1kW\r\n10A (default) with 20A maximum.\r\n\r\n2-3kW\r\n20A (default) with 30A maximum.\r\n\r\n\r\n",

    "Publish": false

  },

  {

    "Address": 20127,

    "Name": "BatteryLowVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Low DC cut off battery voltage\r\n\r\n12V model:\r\nDefault setting is 10.2V. Setting range is from 10.0V to 12V.\r\n\r\n24V model:\r\nDefault setting is 20.4V. Setting range is from 20.0V to 24.0V.\r\n\r\nIf 'User-Defined' LI is selected in program (10110) 14, this program can be set up. Increment of each click is 0.1V.\r\n\r\nLow DC cut-off voltage will be fixed to setting value no matter what percentage of load is connected.",

    "Publish": false

  },

  {

    "Address": 20128,

    "Name": "BatteryHighVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 20132,

    "Name": "MaxCombineChargerCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Maximum charging current\r\n\r\nMax.charging current=utility charging current + solar charging current.\r\n\r\n1kW\r\n60A (default). Can be from 1A to 70A.\r\n\r\n2-3kW MPPT-50A\r\n60A (default). Can be from 1A to 80A.\r\n\r\n2-3kW MPPT-60A\r\n60A (default). Can be from 1A to 80A.\r\n\r\n2-3kW MPPT-80A\r\n80A (default). Can be from 1A to 80A.\r\n",

    "Publish": false

  },

  {

    "Address": 20142,

    "Name": "SystemSetting",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.UInt16",

    "Lookup": [

      "OverLoadRestartForbid",

      "OverTempRestartForbid",

      "OverLoadBypassForbid",

      "AutoTurnPageFlagForbid",

      "GridBuzzEnable(only use by PV1800)",

      "BuzzForbide(only use by PV1800)",

      "LcdLightEnable",

      "RecordFaultForbid",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      ""

    ],

    "Remarks":  "TODO: This is not coming through in poll and not sure of default values.",

    "Publish": false

  },

  {

    "Address": 20143,

    "Name": "ChargerSourcePriority",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [

      "Solar first",

      "",

      "Solar and Utility (default)",

      "Only Solar"

    ],

    "Remarks": "Charger source priority\r\n\r\nIf this inverter/charger is working in Line, Standby or Fault mode, charger source can be programmed as below:\r\n\r\nSolar first\r\nSolar energy will charge battery as first priority. Utility will charge battery only when solar energy is not available.\r\n\r\nSolar and utility (default)\r\nSolar energy and utility will charge battery at the same time.\r\n\r\nOnly solar\r\nSolar energy will be the only charger source no matter utility is available or not.\r\n\r\nIf this inverter/charger is working in Battery mode or Power saving mode, only solar energy can charge battery. Solar energy will charge battery if it's available and suffcient.\r\n\r\n",

    "Publish": false

  },

  {

    "Address": 25201,

    "Name": "WorkStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "state-machine",

    "Lookup": [

      "PowerOn",

      "SelfTest",

      "OffGrid",

      "Grid-Tie",

      "ByPass",

      "Stop",

      "Grid charging"

    ],

    "Remarks": "\r\nPowerOn\r\nThe inverter is powering on.\r\n\r\nSelfTest\r\nThe inverter is performing a self test.\r\n\r\nOffGrid\r\nThe inverter will provide output power from battery and PV power.\r\nInverter power loads from PV energy.\r\nInverter power loads from battery and PV energy.\r\nInverter power loads from battery only.\r\n\r\nGrid-Tie\r\nPV energy is charger PV is on into the battery and utility provide power to the AC load.\r\nPV is on\r\nPV is off\r\n\r\nByPass\r\nError are caused by inside circuit error or external reasons such as over temperature, output short circuited and so on.\r\n\r\nStop\r\nThe inverter stop working if you turn off the inverter by the soft key or error has occurred in the condition of no grid.\r\n\r\nGrid charging\r\nPV energy and grid can charge batteries.\r\n",

    "Publish": true

  },

  {

    "Address": 25202,

    "Name": "AcVoltageGrade",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Vac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25203,

    "Name": "RatedPower",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "VA",

    "Icon": "lightbulb-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25205,

    "Name": "BatteryVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vdc-batt",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25206,

    "Name": "InverterVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25207,

    "Name": "GridVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25208,

    "Name": "BusVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vdc/Vac",

    "Icon": "cog-transfer-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25209,

    "Name": "ControlCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Aac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25210,

    "Name": "InverterCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Aac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25211,

    "Name": "GridCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Aac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25212,

    "Name": "LoadCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Aac",

    "Icon": "current-ac",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25213,

    "Name": "PInverter",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "cog-transfer-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25214,

    "Name": "PGrid",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "transmission-tower",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25215,

    "Name": "PLoad",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "lightbulb-on-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25216,

    "Name": "LoadPercent",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "%",

    "Icon": "progress-download",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25217,

    "Name": "SInverter",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "VA",

    "Icon": "cog-transfer-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25218,

    "Name": "SGrid",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "VA",

    "Icon": "transmission-tower",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25219,

    "Name": "SLoad",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "VA",

    "Icon": "lightbulb-on-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25221,

    "Name": "QInverter",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Var",

    "Icon": "cog-transfer-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25222,

    "Name": "QGrid",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Var",

    "Icon": "transmission-tower",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25223,

    "Name": "QLoad",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Var",

    "Icon": "lightbulb-on-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25225,

    "Name": "InverterFrequency",

    "Coefficient": 0.01,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Hz",

    "Icon": "sine-wave",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25226,

    "Name": "GridFrequency",

    "Coefficient": 0.01,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Hz",

    "Icon": "sine-wave",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25229,

    "Name": "InverterMaxNumber",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "format-list-numbered",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25230,

    "Name": "CombineType",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "format-list-bulleted-type",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25231,

    "Name": "InverterNumber",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "format-list-numbered",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25233,

    "Name": "AcRadiatorTemp",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "oC",

    "Icon": "thermometer",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25234,

    "Name": "TransformerTemp",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "oC",

    "Icon": "thermometer",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25235,

    "Name": "DcRadiatorTemp",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "oC",

    "Icon": "thermometer",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25237,

    "Name": "InverterRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25238,

    "Name": "GridRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25239,

    "Name": "LoadRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25240,

    "Name": "NLineRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25241,

    "Name": "DcRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25242,

    "Name": "EarthRelayStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25245,

    "Name": "AccumulatedChargerPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25246,

    "Name": "AccumulatedChargerPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25247,

    "Name": "AccumulatedDischargerPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25248,

    "Name": "AccumulatedDischargerPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25249,

    "Name": "AccumulatedBuyPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25250,

    "Name": "AccumulatedBuyPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25251,

    "Name": "AccumulatedSellPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25252,

    "Name": "AccumulatedSellPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25253,

    "Name": "AccumulatedLoadPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25254,

    "Name": "AccumulatedLoadPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25255,

    "Name": "AccumulatedSelfusePowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25256,

    "Name": "AccumulatedSelfusePowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25257,

    "Name": "AccumulatedPvsellPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25258,

    "Name": "AccumulatedPvsellPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25259,

    "Name": "AccumulatedGridChargerPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25260,

    "Name": "AccumulatedGridChargerPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 25261,

    "Name": "Error1",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-circle-outline",

    "Lookup": [

      "Fan is locked when inverter is off",

      "Inverter transformer over temperature",

      "battery voltage is too high",

      "battery voltage is too low",

      "Output short circuited",

      "Inverter output voltage is high",

      "Overload time out",

      "Inverter bus voltage is too high",

      "Bus soft start failed",

      "Main relay failed",

      "Inverter output voltage sensor error",

      "Inverter grid voltage sensor error",

      "Inverter output current sensor error",

      "Inverter grid current sensor error",

      "Inverter load current sensor error",

      "Inverter grid over current error"

    ],

    "Publish": true

  },

  {

    "Address": 25262,

    "Name": "Error2",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-circle-outline",

    "Lookup": [

      "Inverter radiator over temperature",

      "Solar charger battery voltage class error",

      "Solar charger current sensor error",

      "Solar charger current is uncontrollable",

      "Inverter grid voltage is low",

      "Inverter grid voltage is high",

      "Inverter grid under frequency",

      "Inverter grid over frequency",

      "Inverter over current protection error",

      "Inverter bus voltage is too low",

      "Inverter soft start failed",

      "Over DC voltage in AC output",

      "Battery connection is open",

      "Inverter control current sensor error",

      "Inverter output voltage is too low",

      ""

    ],

    "Publish": true

  },

  {

    "Address": 25263,

    "Name": "Error3",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-circle-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25265,

    "Name": "Warning1",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-outline",

    "Lookup": [

      "Fan is locked when inverter is on.",

      "Fan2 is locked when inverter is on.",

      "Battery is over-charged.",

      "Low battery",

      "Overload",

      "Output power derating",

      "Solar charger stops due to low battery.",

      "Solar charger stops due to high PV voltage.",

      "Solar charger stops due to over load.",

      "Solar charger over temperature",

      "PV charger communication error ",

      "",

      "",

      "",

      "",

      ""

    ],

    "Publish": true

  },

  {

    "Address": 25266,

    "Name": "Warning2",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25273,

    "Name": "BattPower",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "car-battery",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25274,

    "Name": "BattCurrent",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Adc",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25275,

    "Name": "BattVoltageGrade",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Vdc-batt",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25277,

    "Name": "RatedPowerW",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "certificate",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25278,

    "Name": "CommunicationProtocalEdition",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "barcode",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 25279,

    "Name": "ArrowFlag",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "state-machine",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 10001,

    "Name": "ChrMachineType",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10002,

    "Name": "ChrSerialNumberH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10003,

    "Name": "ChrSerialNumberL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10004,

    "Name": "ChrHardwareNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10005,

    "Name": "ChrSoftwareNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10006,

    "Name": "PvVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10007,

    "Name": "ChrBatteryVoltageC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10008,

    "Name": "ChargerCurrentC",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10103,

    "Name": "FloatVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Floating charging voltage\r\n\r\n12V model:\r\nDefault setting is 13.5V. Setting range is from 12.0V to 14.6V.\r\n\r\n24V model:\r\nDefault setting is 27.0V. Setting range is from 24.0V to 29.2V.\r\n\r\nIf 'User-Defined' LI is selected in program (10110) 14, this program can be set up. Increment of each click is 0.1V.",

    "Publish": false

  },

  {

    "Address": 10104,

    "Name": "AbsorptionVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Remarks": "Bulk charging voltage (C.V voltage)\r\n\r\n12V model:\r\nDefault setting is 14.1V. Setting range is from 12.0V to 14.6V.\r\n\r\n24V model:\r\nDefault setting is 28.2V. Setting range is from 24.0V to 29.2V.\r\n\r\nIf 'User-Defined' LI is selected in program (10110) 14, this program can be set up. Increment of each click is 0.1V.",

    "Publish": false

  },

  {

    "Address": 10105,

    "Name": "ChrBatteryLowVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10108,

    "Name": "MaxChargerCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 10110,

    "Name": "BatteryType",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [

      "",

      "User defined battery",

      "Lithium battery ",

      "SEALED_LEAD  battery",

      "AGM  battery (default)",

      "GEL  battery",

      "FLOODED  battery"

    ],

    "Remarks": "Battery type\r\n\r\n\r\nf 'User-Defined' LI is selected, battery charge voltage and low DC cut-off voltage can be set up in program 10104 (17), 10103 (18) and 10105 (19).",

    "Publish": false

  },

  {

    "Address": 10111,

    "Name": "BatteryAh",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 15201,

    "Name": "ChrWorkstateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "state-machine",

    "Lookup": [

      "Initialization mode ",

      "Selftest Mode",

      "Work Mode",

      "Stop Mode"

    ],

    "Publish": true

  },

  {

    "Address": 15202,

    "Name": "MpptStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [

      "Stop",

      "MPPT",

      "Current limiting"

    ],

    "Publish": true

  },

  {

    "Address": 15203,

    "Name": "ChargingStateNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [

      "Stop",

      "Absorb charge",

      "Float charge"

    ],

    "Publish": true

  },

  {

    "Address": 15205,

    "Name": "PvVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vdc-pv",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15206,

    "Name": "ChrBatteryVoltage",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Vdc-batt",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15207,

    "Name": "ChargerCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Adc",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15208,

    "Name": "ChargerPower",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W",

    "Icon": "car-turbopower",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15209,

    "Name": "RadiatorTemp",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "oC",

    "Icon": "thermometer",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15210,

    "Name": "ExternalTemp",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "oC",

    "Icon": "thermometer",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15211,

    "Name": "BatteryRelayNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15212,

    "Name": "PvRelayNo",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "electric-switch",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15213,

    "Name": "ChrError1",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-circle-outline",

    "Lookup": [

      "Hardware protection",

      "Over current",

      "Current sensor error",

      "Over temperature",

      "PV voltage is too high",

      "",

      "Battery voltage is too high",

      "Battery voltage is too Low",

      "Current is uncontrollable",

      "Parameter error",

      "",

      "",

      "",

      "",

      "",

      ""

    ],

    "Publish": true

  },

  {

    "Address": 15214,

    "Name": "ChrWarning1",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Icon": "alert-outline",

    "Lookup": [

      "Fan Error",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      "",

      ""

    ],

    "Publish": true

  },

  {

    "Address": 15215,

    "Name": "BattVolGrade",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "Vdc-batt",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15216,

    "Name": "RatedCurrent",

    "Coefficient": 0.1,

    "IsSigned": true,

    "DataType": "System.Double",

    "Uom": "Adc",

    "Icon": "current-dc",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15217,

    "Name": "AccumulatedPvPowerH",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-High",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 15218,

    "Name": "AccumulatedPvPowerL",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "W-Low",

    "Icon": "chart-bell-curve-cumulative",

    "Lookup": [],

    "Publish": false

  },

  {

    "Address": 15219,

    "Name": "AccumulatedDay",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "day",

    "Icon": "calendar-day",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15220,

    "Name": "AccumulatedHour",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "hour",

    "Icon": "clock-outline",

    "Lookup": [],

    "Publish": true

  },

  {

    "Address": 15221,

    "Name": "AccumulatedMinute",

    "Coefficient": 1,

    "IsSigned": true,

    "DataType": "System.Int16",

    "Uom": "min",

    "Icon": "timer-outline",

    "Lookup": [],

    "Publish": true

  }

]

