## PV1800-Protocol-1_4_15-20180901
Inverter error message 1
Bit | meaning | description
0 | Fan is locked when inverter is off | 0:normal 1:fault
1 | Inverter transformer over temperature | 0:normal 1:fault
2 | battery voltage is too high | 0:normal 1:fault
3 | battery voltage is too low | 0:normal 1:fault
4 | Output short circuited | 0:normal 1:fault
5 | Inverter output voltage is high | 0:normal 1:fault
6 | Overload time out | 0:normal 1:fault
7 | Inverter bus voltage is too high | 0:normal 1:fault
8 | Bus soft start failed | 0:normal 1:fault
9 | Main relay failed | 0:normal 1:fault
10 | Inverter output voltage sensor error | 0:normal 1:fault
11 | Inverter grid voltage sensor error | 0:normal 1:fault
12 | Inverter output current sensor error | 0:normal 1:fault
13 | Inverter grid current sensor error | 0:normal 1:fault
14 | Inverter load current sensor error | 0:normal 1:fault
15 | Inverter grid over current error | 0:normal 1:fault
Inverter error message 2
Bit | meaning | description
0 | Inverter radiator over temperature | 0:normal 1:fault
1 | Solar charger battery voltage class error | 0:normal 1:fault
2 | Solar charger current sensor error | 0:normal 1:fault
3 | Solar charger current is uncontrollable | 0:normal 1:fault
4 | Inverter grid voltage is low | 0:normal 1:fault
5 | Inverter grid voltage is high | 0:normal 1:fault
6 | Inverter grid under frequency | 0:normal 1:fault
7 | Inverter grid over frequency | 0:normal 1:fault
8 | Inverter over current protection error | 0:normal 1:fault
9 | Inverter bus voltage is too low | 0:normal 1:fault
10 | Inverter soft start failed | 0:normal 1:fault
11 | Over DC voltage in AC output | 0:normal 1:fault
12 | Battery connection is open | 0:normal 1:fault
13 | Inverter control current sensor error | 0:normal 1:fault
14 | Inverter output voltage is too low | 0:normal 1:fault
15 | reserved | 0:normal 1:fault
Charger error message 1
Bit | meaning | description
0 | Hardware protection | 0:normal 1:fault
1 | Over current | 0:normal 1:fault
2 | Current sensor error | 0:normal 1:fault
3 | Over temperature | 0:normal 1:fault
4 | PV voltage is too high | 0:normal 1:fault
5 | PV voltage is too low | 0:normal 1:fault
6 | Battery voltage is too high | 0:normal 1:fault
7 | Battery voltage is too Low | 0:normal 1:fault
8 | Current is uncontrollable | 0:normal 1:fault
9 | Parameter error | 0:normal 1:fault
10 | reserved | 0:normal 1:fault
11 | reserved | 0:normal 1:fault
12 | reserved | 0:normal 1:fault
13 | reserved | 0:normal 1:fault
14 | reserved | 0:normal 1:fault
15 | reserved | 0:normal 1:fault
Inverter warning message 1
Inverter Warning message 1 | meaning | description
0 | Fan1 is locked when inverter is on | 0:normal 1:fault
1 | Fan2 is locked when inverter is on | 0:normal 1:fault
2 | Battery is over-charged | 0:normal 1:fault
3 | Low battery | 0:normal 1:fault
4 | Overload | 0:normal 1:fault
5 | Output power derating | 0:normal 1:fault
6 | Solar charger stops due to low battery | 0:normal 1:fault
7 | Solar charger stops due to high PV voltage | 0:normal 1:fault
8 | Solar charger stops due to over load | 0:normal 1:fault
9 | Solar charger over temperature | 0:normal 1:fault
10 | PV charger communication error | 0:normal 1:fault
11 | reserved | 0:normal 1:fault
12 | reserved | 0:normal 1:fault
13 | reserved | 0:normal 1:fault
14 | reserved | 0:normal 1:fault
15 | reserved | 0:normal 1:fault
Inverter warning message 2
Inverter Warning message 2 | meaning | description
0 | reserved | 0:normal 1:fault
1 | reserved | 0:normal 1:fault
2 | reserved | 0:normal 1:fault
3 | reserved | 0:normal 1:fault
4 | reserved | 0:normal 1:fault
5 | reserved | 0:normal 1:fault
6 | reserved | 0:normal 1:fault
7 | reserved | 0:normal 1:fault
8 | reserved | 0:normal 1:fault
9 | reserved | 0:normal 1:fault
10 | reserved | 0:normal 1:fault
11 | reserved | 0:normal 1:fault
12 | reserved | 0:normal 1:fault
13 | reserved | 0:normal 1:fault
14 | reserved | 0:normal 1:fault
15 | reserved | 0:normal 1:fault
Charger Warning message 1
Charger Warning message 1 | meaning | description
0 | Fan Error | 0:normal 1:fault
1 | reserved | 0:normal 1:fault
2 | reserved | 0:normal 1:fault
3 | reserved | 0:normal 1:fault
4 | reserved | 0:normal 1:fault
5 | reserved | 0:normal 1:fault
6 | reserved | 0:normal 1:fault
7 | reserved | 0:normal 1:fault
8 | reserved | 0:normal 1:fault
9 | reserved | 0:normal 1:fault
10 | reserved | 0:normal 1:fault
11 | reserved | 0:normal 1:fault
12 | reserved | 0:normal 1:fault
13 | reserved | 0:normal 1:fault
14 | reserved | 0:normal 1:fault
15 | reserved | 0:normal 1:fault